## Station_Detail
Station Identification |  | Compulsion | Station Information | Description
| Local Code | Mandatory | AWS-RikhaSamba | Clearly identify the station and whose responsibility it is. It is very important to do so by reporting all the different codes, as some times WMO codes are not used locally and national codes are not known abroad. It is also useful to know which networks a station is included in.
| Station Name and aliases | Mandatory
| Latitude | Mandatory
| Longitude | Mandatory
| Elevation | Mandatory
| Active/Closed | Mandatory | Active
| Beginning/End Date | Mandatory | October 2012 -
| Type of Station | Mandatory | Meteorological
| Responsible Organization | Mandatory | ICMOD/DHM
| Manual/Automatic | Mandatory | AWS
| Time zone | Mandatory | NPT
| Watershed | Optional
| River | Optional
| Country | Mandatory
| Networks | Optional
Local Environment
| Local land use/land cover | Optional | bare ground/rock | Document the station environment and instruments exposure: obstacles, e.g. land use, population growth, obstacles, exposure site land cover, etc.
| Instruments exposure | Optional | Open
| Soil type | Optional
| Site condition | Optional
| Photographs | Optional
| Site plans | Optional
| Skyline diagrams | Optional
Station Instrumentation and Maintenance
| Type of instruments, Serial Numbers | Optional | Rotronic Hydroclip HC2 Temperature and Humidity Sensor with Radiation Shield #6083449 (October 2012 - May 2015) Young Wind Monitor 05103L-45 Ultrasonic Anemometer #115882 (October 2012 - May 2015) CMB pyranometer #110714 (October 2012 - May 2015) Vaisala PTB330 Digital Barometer #G4930008 OTT Pluvio Precipitation Gauge #293814 (October 2012 - October 2015) Jenoptik SHM30 Snow Depth Sensor #112917 | Report the characteristics of the instruments in use and their sheltering, accuracy, calibration and maintenance; indicate how data are transmitted. Carefully note any changes in instrumentation.
| List of observed elements | Optional
| Units used | Optional | Battery voltage (V), Air temperature (C), relative humidity (%), precipitation intensity (mm/hr), precipitation quantity (mm), bucket content (mm), incoming shortwave radiation (W/m2), snow depth (m), wind speed (m/s) and direction (degrees), barometric pressure (hPa)
| Observation instructions | Optional
| Changes in instrumentation or site | Optional | Pluvio replaced in October 2015.
| Routine maintenance operations | Optional | Pluvio bucket emptied post monsoon; antifreeze added post-monsoon. Radiation sensor levelled.
| Disposable items replacement | Optional
| Corrections made by observer | Optional
Observing Practices
| Observer information | Optional |  | Keep documented what elements are observed and when, with special care to the enforcement of daylight saving times; report the exact moment of maintenance operations and any corrections made to data
| Observer level of training | Optional
| List of observed elements | Optional
| Observing times | Optional
| Units used | Optional
| Observation instructions | Optional
| Routine maintenance operations | Optional
| Disposable items replacement | Optional
| Corrections made by observer | Optional | NOTE: errors in pluvio precipitation record (cause unknown). Bucket content has been kept in the data files, but cannot be used to calculate hourly precipitation totals.
Data Processing
| Units | Optional | See above | Report units in use and give conversion factors if they don’t belong to the metric system. Indicate special codes used and their meaning; mention in the metadata any amendment made to the recorded data: calculations, corrections, qc, homogenization and data interpolation. Report criteria for missing data, and if more than one instrument for the same element, which is considered the primary instrument.
| Special codes | Optional
| Calculations | Optional | Hourly means
| Algorithms | Optional | Contact joseph.shea@icimod.org for processsing, QA/QC details
| QC applied? (yes/no) | Optional | yes
| Other details on QC | Optional | Contact joseph.shea@icimod.org for details
| Homogenization applied? (yes/no) | Optional | no
| Other details on homogenization | Optional | Snow depth data should be treated cautiously.
| Data recovery effort? (yes/no) | Optional | yes
| Other details on data recovery | Optional | contact joseph.shea@icimod.org for details
| Treatment of redundant data | Optional