## Station_Detail
Station Identification |  | Compulsion | Station Information | Description
| Local Code | Mandatory | AWS-Kyanging | Clearly identify the station and whose responsibility it is. It is very important to do so by reporting all the different codes, as some times WMO codes are not used locally and national codes are not known abroad. It is also useful to know which networks a station is included in.
| Station Name and aliases | Mandatory
| Latitude | Mandatory
| Longitude | Mandatory
| Elevation | Mandatory
| Active/Closed | Mandatory | Active
| Beginning/End Date | Mandatory | 2012-04-01
| Type of Station | Mandatory | Meteorological
| Responsible Organization | Mandatory | ICMOD/DHM
| Manual/Automatic | Mandatory | AWS
| Time zone | Mandatory | NPT
| Watershed | Optional
| River | Optional
| Country | Mandatory
| Networks | Optional
Local Environment
| Local land use/land cover | Optional | Grass/Brush | Document the station environment and instruments exposure: obstacles, e.g. land use, population growth, obstacles, exposure site land cover, etc.
| Instruments exposure | Optional | Open
| Soil type | Optional
| Site condition | Optional
| Photographs | Optional
| Site plans | Optional
| Skyline diagrams | Optional
Station Instrumentation and Maintenance
| Type of instruments, Serial Numbers | Optional | Rotronic Hydroclip HC2 Temperature and Humidity Sensor with Radiation Shield #60834202 (March 2012 - May 2015) Young Wind Monitor 05103L-45 Ultrasonic Anemometer #115881 (March 2012 - May 2015) CNR4 Net radiometer #110715 (March 2012 - May 2015) | Report the characteristics of the instruments in use and their sheltering, accuracy, calibration and maintenance; indicate how data are transmitted. Carefully note any changes in instrumentation.
| List of observed elements | Optional | Battery voltage (BATTVOLT); Air temperature (TAIR); relative humidity (RH); Precipitation intensity (P_INT); Precipitation quantity (P_QUANT); Bucket content (B_CONTENT); CNR4 Sensor Temperature (T_CNR4); incoming shortwave radiation (KDOWN), reflected shortwave radiation (KUP); incoming longwave radiation (LDOWN); outgoing longwave radiation (LUP); Soil temperature (T_SOIL); Snow depth (L_SD); barometric pressure (PRESSURE); wind speed (WINDSPD); wind direction (WINDDIR)
| Units used | Optional | Battery voltage (V), Air temperature (C), relative humidity (%), precipitation intensity (mm/hr), precipitation quantity (mm), bucket content (mm), CNR4 sensor temperature (C), incoming and reflected shortwave radiation (W/m2), incoming and outgoing longwave radiation (W/m2), soil temperature (C), snow depth (m), baromwind speed (m/s) and direction (degrees), snow depth (m), barometric pressure (hPa), soil temperature (C)
| Observation instructions | Optional
| Changes in instrumentation or site | Optional | Station replaced in September 2015 after earthquake. Same location, new data logger (CR1000), new snow depth sensor (SR50), new wind speed sensor.
| Routine maintenance operations | Optional | Pluvio bucket emptied pre and post-monsoon; antifreeze added post-monsoon
| Disposable items replacement | Optional
| Corrections made by observer | Optional | Incorrect multiplier for analog RH observations. Mean hourly observations multiplied by 1.2 from 13 December 2012 to 30 April 2014
Observing Practices
| Observer information | Optional |  | Keep documented what elements are observed and when, with special care to the enforcement of daylight saving times; report the exact moment of maintenance operations and any corrections made to data
| Observer level of training | Optional
| List of observed elements | Optional
| Observing times | Optional
| Units used | Optional
| Observation instructions | Optional
| Routine maintenance operations | Optional
| Disposable items replacement | Optional
| Corrections made by observer | Optional | RH malfunction, 2013
Data Processing
| Units | Optional | See above | Report units in use and give conversion factors if they don’t belong to the metric system. Indicate special codes used and their meaning; mention in the metadata any amendment made to the recorded data: calculations, corrections, qc, homogenization and data interpolation. Report criteria for missing data, and if more than one instrument for the same element, which is considered the primary instrument.
| Special codes | Optional
| Calculations | Optional | Hourly means
| Algorithms | Optional | Contact joseph.shea@icimod.org for processsing, QA/QC details
| QC applied? (yes/no) | Optional | yes
| Other details on QC | Optional | Contact joseph.shea@icimod.org for details
| Homogenization applied? (yes/no) | Optional | no
| Other details on homogenization | Optional
| Data recovery effort? (yes/no) | Optional | yes
| Other details on data recovery | Optional | contact joseph.shea@icimod.org for details
| Treatment of redundant data | Optional